|  |  |
| --- | --- |
| EAN 5901804191138 | CB NUMBER T1501 |
| Vendor Art. Nr 1804191138 |  |

Ouse

# Main description

Fancy radiator perfectly reconciling decorative function and usability. It makes a real statement both in bathrooms and living rooms.

# Key points


* Unique form and finish
* Original and functional decorative element
* Minimalism and pragmatism taken to extremes

# Features and benefits

* Highest quality low carbon steel ensuring product longevity
* Great towel hanging capability
* Easy installation (solid wall fixing kit included)
* Made to EN 10305-5
* Easy cleaning and maintenance
* Hand polished surface ensuring state-of-the-art galvanic coating

# Specifications

|  |  |
| --- | --- |
| Height (mm): | 1437 |
| Width (mm): | 500 |
| Depth (mm): | 95 |
| Colour: | Galvanic Old Copper |
| Heat output (W): | 391 |
| Heat output (BTUs): | 1334 |
| Connection type: | ZX |
| Connection spacing: | 50 |
| Wall to centre of inlet (mm): | 73-88 |
| Operating pressure (MPa): | 1 |
| Maximum operating temperature (°C): | 95 |
| Material: | Carbon steel |
| Surface finish: | Galvanic coating |
| Weight (kg): | 14.8 |

Connection diagram